| Certification schemes | #### BRL 1301 / 1304 / 1306 / 1308 / 1309 / 1331 / 4710 |
| --- | --- |
| Scope of certification | Thermal insulation materials |
| Regulations | Kiwa Regulation for Certification |

| Requirements | Initial | Audit 1 | Audit 2 |
| --- | --- | --- | --- |
| Documentation assessment | X | X |  |
| Implementation assessment | X | X | X |
| Quality system & organisation | X |  | X |
| Specification and verification of raw materials and components | X | X | X |
| Control of production process and semi-finished products | X | X | X |
| Control of end products | X | X | X |
| Corrective measures | X | X |  |
| Control of storage and transport, semi-finished products and end products | X | X | X |
| Control of test equipment and measuring devices | X |  | X |
| Traceability | X | X |  |
| Complaints | X | X |  |
| Sampling for external verification and/or witnessing of internal tests (if applicable) | X | X | X (if not finished during previous visit) |